Analysis Software

BVA          MNE Python     EEGLAB

Assumption: 64-channel EEG with 1000 Hz sampling rate

https://docs.google.com/spreadsheets/d/1d3ay1UHcVDiPWlTjb3jR1CC1Qdz8cnSjqNXCXYXJg0o/edit?gid=0#gid=0

Step  2

Trigger-adjustments

Experiment-specific adjustments to the EEG triggers

Step  1

BIDS-Formatting

Rename BrainVision input to align with BIDS-oriented file handling

Step 3

Main dataset

Interpolation of 
bad channels

- Flatline > 10% total signal length
- r < .80 with neighboring channels

! Removal of dead/invalid AUX channels (no interpolation)

Removing drift

0.1 Hz

Detrending 
Only needed when interest in very low frequencies

High-pass filter

Resampling

00000000000000000

To 250 Hz
(at least 4x low-pass filter cutoff frequency)

! exception:
interest in 
very fast 
frequencies

ttps://docs.google.com/spreadsheets/d/1d3ay1UHcVDiPWlTjb3jR1CC1Qdz8cnSjqNXCXYXJg0o/edit?gid=0#gid=0

Re-reference

average

Mastoid reference
(for topographically distributed ERPS)

CSD for time-frequency analysis

Removing line-noise

CleanLine/pop_cleanline

None

Creating IC Training Copy

ttps://docs.google.com/spreadsheets/d/1d3ay1UHcVDiPWlTjb3jR1CC1Qdz8cnSjqNXCXYXJg0o/edit?gid=0#gid=0

Filtering low pass
Depends on frequency to be analyzed

Online filter?

40 Hz

1 Hz high-pass filtering

https://docs.google.com/spreadsheets/d/1d3ay1UHcVDiPWlTjb3jR1CC1Qdz8cnSjqNXCXYXJg0o/edit?gid=0#gid=0

ttps://docs.google.com/spreadsheets/d/1d3ay1UHcVDiPWlTjb3jR1CC1Qdz8cnSjqNXCXYXJg0o/edit?gid=0#gid=0

ICA- training copy

Epoching before ICA

1-second regular epochs
(before ICA-prep rejection for ICA-training dataset)

FASTER/PTP

Rejection of bad epochs

Condition code for minimum-trials-per-condition needs project specific entries

ICA artifact rejection

ICA training copy

Step 6

Step 5

ERPLAB 
+/- 200uV extreme voltage, 50uV sample-to-sample difference, voltage differences < 0.5 uV within 100ms

–   ICA training copy	IC weights	     text  consensual decision

main dataset            	               	     text  comment

Manual

Automatic

ICLabel thresholds (>= .85) for ocular, cardiac & muscular artifacts, line. & channel noise

AMICA

Better if artifacts are likely to change over time

extended infomax

faster, runs on hummel

d

ICA

MAD variance

“event-locked”
-0.4 to 2.6 s 
windows and phase-specific event codes

ICA-training copy

Segment rejection before ICA

ERPLAB ICA-prep rejection +/-300uV; 75uV sample difference; 200ms flatline

FASTER/PTP

none

MAD variance

Reporting of Data quality

Reject participants

Summary outputs
Rejection steps & SME* for ERPs

ICLabel outputs: 
IC/component & run/subject summary

“baseline”
10s open/closed regular epochs from baseline markers

Hard min.: 
3 epochs/ condition

*Standardized measurement error

Analysis-driven exclusion

Epoching

Task-dependent

Step 4